Community Development

REQUEST FOR PROPOSAL

OWNER:        MILLE LACS BAND OF OJIBWE		DATE ISSUED: 13 February, 2020

43408 OODENA DRIVE

ONAMIA, MN 56359                   		BID DATE:        27 February, 2020

PROJECT:     	67811 Norway Spruce Rd., Finlayson, MN

TO: 	    Qualified General Contractors

THIS IS NOT A CHANGE ORDER NOR A DIRECTION TO PROCEED WITH THE WORK DESCRIBED HEREIN.

RFP for Residential Bathroom Repairs and Updates

67811 Norway Spruce Rd., Finlayson, MN

The Mille Lacs Band of Ojibwe, Community Development office will be accepting sealed bids for the renovation of the home located at 67811 Norway Spruce Rd., located in Finlayson, MN.  Bids will be due Wednesday, February 26, 2020 at 3:00 PM.  Bids received will be opened and qualified by the Mille Lacs Band of Ojibwe on Thursday, February 27, 2020 at 8:30 AM.

A mandatory pre-bid site visit will be held on Wednesday, February 19, 2020  at 1:30 PM.  Directions to the site:  Hwy 18, 3 miles West of Finlayson.  North on Norway Spruce Rd to project site.

General Notes:

- It is the Contractors responsibility to identify any and all discrepancies in the scope of work, not meeting Industry Standards or that which is inconsistent with the International Residential Code (IRC), and Mille Lacs Band of Ojibwe 2016 MLB Project Specification Book.

- All electrical wiring, apparatus and equipment for electric light, heat and power, technology circuits or systems shall comply with the rules of the Department of Commerce or the Department of Labor and Industry, as applicable, and be installed in conformity with accepted standards of construction for safety to life and property.

- Contractor must reconnect all utilities, service panel or service feed. Also includes gas, propane.  Include such equipment or materials identified in the pre-bid conference.

- Contractor will secure all permits and fees.

- Contractor is responsible for a thorough investigation of the scope of work.

- Contractor will repair any damage to the property or structure created by the scope of work.

- NO WORK SHALL BE PERFORMED UNTIL ALL REQUIRED PERMITS HAVE BEEN ISSUED AND COPIES IN THE POSSESSION OF THE PROJECT COORDINATOR AND /OR MILLE LACS BAND BUILDING OFFICIAL.

Work Scope Description:

Repair and update the bathrooms.

67811 Norway Spruce Rd.:  All products per 2016 MLB Specifications unless noted otherwise.

Interior:

1.  Update / Provide and Install Smoke and CO detectors to meet code throughout the entire home.

2.  Minor amount of patch and repair of sheetrock walls in the bathrooms as needed.  Also, repair the one area of the ceiling in the bedroom bath prior to painting the ceiling.  Match as necessary.  The bathroom ceilings are popcorn; paint both popcorn ceilings white.  Prepare bathroom walls for paint and provide all paint, materials and painting labor for both bathrooms in their entirety.  Include ceiling and wall painting complete for both bathrooms.  Paint interior of small linen closet in hallway bathroom.

3. Flash and or patch roof penetration through the roof above the bedroom bath ceiling to ensure no further leakage at that area.  We expect that sealing the bathroom vent fan flashing will correct the leak. It is a minor leak that has dripped over an extended period of time.

4.  Tear out the water damaged underlayment from around the toilet area from the side of the vanity to the bathtub in the hallway bathroom (this floor area is 40” x 58”).    Provide and install all material and labor for this substrate repair.

5.  Provide and install Congoleum Air Step Plus, Vinyl Sheet Flooring Type SV in both bathrooms.

6.  Tear out old shower pan in the bedroom bath and re-do the subfloor under the shower.  Provide and install a shower base with center drain. The remainder of that bedroom bathroom has a solid sub-floor. Include repairs and parts as needed under the existing shower base.  Trim the floor edges at shower pan edges, walls and entry.   Include (2) duel, framed sliding shower doors for two separate walls.  As this is a corner installation; there are (2) sides that need duel framed sliding shower doors in the bedroom shower area corner unit.

7.  Remove old and provide and install new faucets for all of the sinks, tubs, showers and fixtures in both bathrooms.

8.  Replace the vanity / countertop complete in both bathrooms.  Match existing.  Make selection with homeowner.

9.  Shower enclosure in bedroom shower area is a custom type installation that is built out from the corner with two existing tile walls that will require a limited amount of grout repairs.

10. Ensure proper backing* in walls and provide and install grab bars in shower and bath areas and along toilets in both bathrooms.  *If adequate backing is not in place, supply and install new backing and make necessary wall repairs.

11. Tile grout repairs on the walls of the shower in both bathrooms.

12. Remove old toilets and provide and install new “American Standard Cadet 3 Elongated” toilets in each bathroom.

13. Provide for removal and disposal of construction debris and related materials.

14. Remove old and provide all new electrical outlet and device switch and outlet covers, etc. in both bathrooms.

15. Remove the Medicine Cabinet above the sink in bedroom bath.  There is currently a light strip built into the top of the Existing Medicine Cabinet.  The light is not working.  Please remove the entire cabinet and lighting strip.  Repair the sheetrock wall as may be needed and install new strip light for over the sink.

16. Include new light fixture and all installation labor.  Do not include new Medicine Cabinet.

17.  Include new toilet room accessories for both bathrooms.  Toilet paper dispensers, towel bars and towel rings.

18. Include shower heads and faucets for both bathroom shower / bath areas.

19. Include MLBO Permit.

20.  Provide and install a mirror in the bedroom bathroom. (at area medicine cabinet is removed)

Bid Alternate #1

N/A

Specified Product Substitutions:  All proposed product substitutions must be approved by the Project Coordinator 5 days prior to bid.  Any approved substitutions, will be made available to all bidders.

Contacts:

Interested bidders shall contact Jim Carpenter 320-364-9865 or by email at james.carpenter@millelacsband.com to be included on the bidder’s list in the event that any addendums are issued for this project.

Mobilization:

- The Contractor shall be capable of mobilizing his equipment and crews within seven days of the receipt of Notice to Proceed.

- Contractor shall submit building schedule to Project Coordinator at the time of contract signature by the Contractor.

- Contractor shall provide means and methods for all building phases of construction.

COMMUNITY DEVELOPMENT/PROJECT MANAGEMENT RESERVES THE RIGHT TO REJECT ANY AND ALL BIDS FOR ANY REASON.

Bidding notes:

- Submit proposal in lump sum (supply and install), not to exceed amount

- All Contractors (including subcontractors) must comply with Davis Bacon wage requirements.

- All Contractors must provide the following along with their bid submittal:

  - Completed and signed MLB Community Development Construction Bid Form

  - A copy of Current MLB Vendor’s License (or a copy of the submitted application)

  - A copy of Current Insurance Certificate

  - Completed and signed copy of the TERO Compliance Plan

  - A copy of Subcontractor/Material Supplier list

  - A copy of valid State of Minnesota Contractor’s License

  - A copy of Authorized Signature Sheet (submitted with first bid submittal)

- All Contractors must comply with all Mille Lacs Band of Ojibwe American Indian Employment requirements (see 18 MLBSA § 5). Contact Lori Trail (Tero Director) at 320-532-4778 or email to   Lori.Trail@millelacsband.com.

All proposals MUST be mailed and labeled as follows:

Mille Lacs Band of Ojibwe

Commissioner of Community Development

Sealed bid: 67811 Norway Spruce Rd.

P.O. Box 509

Onamia, MN 56359

**Please note that the bids must be submitted via mail to the P.O. Box. FedEx and UPS will not deliver to a P.O. Box and the Onamia post office will not accept hand delivered items. Please plan accordingly to ensure the timely receipt of your bid submittal. Do not require signature**

**The Band reserves the right to reject any bid that it is unable to collect at the Onamia post office by the bid deadline date and time, provided that the Band has made diligent and reasonable efforts to collect the bid. The Band reserves this right even in the event that the bid has been postmarked before the deadline.

PROPOSALS NOT SUBMITTED IN THIS MANNER WILL BE REJECTED.

Licensing:

- Firms must be licensed with the Mille Lacs Band of Ojibwe.  A copy of this license (or the license application) must accompany each bid. Licensing process can take several weeks. If you are not currently licensed with the MLBO, please submit a copy of your license application along with your proposal. Contact Elizabeth Thornbloom by telephone at (320) 532-8274 or via email at Ethornbloom@grcasinos.com with questions regarding licensing and for the license application.

Permit and Contractor Requirements:

Permits:  Contractors are responsible to attain all necessary permits for all work, including Mille Lacs Band of Ojibwe (MLBO) Permits.

Bonding Requirements:  In accordance with 2016 MLB Project Specification Book.

MLBSA Section 17 Procurement Statue Ordinance 03-06 states the following:

Section 17. Bonding

For all Band funded residential construction projects, a performance bond is required for contracts in excess of $50,000.00.  The performance bond shall be at a minimum twenty (20%) percent of the contract price, but not in excess of $500,000.00.

SECTION II – BIDDING FORMS

Bidding Requirements and Contract Forms

COMMUNITY DEVELOPMENT

PROJECT MANAGEMENT

FY 2020 CONSTRUCTION BID FORM

REQUIRED FOR ALL BIDS

FIRM NAME: __________________________________________________________________________

JOB/PROJECT: 67811 Norway Spruce Rd., Finlayson, MN

LUMP SUM PRICE:

__________________________________________________________________$____________________

(Written Value)                                                                                               (Dollar Amount)

ALTERNATE #1:

__________________________________________________________________$____________________

(Written Value)                                                                                                 (Dollar Amount)

ALTERNATE #2:

__________________________________________________________________$____________________

(Written Value)                                                                                                 (Dollar Amount)

ALTERNATE #3:

__________________________________________________________________$____________________

(Written Value)                                                                                                 (Dollar Amount)

Acknowledgement of Addendum(s): 1) __________ date    2) ___________date   3) ___________date

BID GUARANTEE PERIOD:

I agree to hold this bid open for a period of 90 days after the bid opening.  If this bid is accepted I agree to execute a Contract and/or a Purchase Order with the Mille Lacs Band of Ojibwe along with furnishing all required bonding (if required) and insurances.

ATTACHMENTS REQUIRED:  Failure to provide any of these attachments will result in bid disqualification.

- MLB BID FORM (MUST BE SIGNED)

- MLBO VENDOR LICENSE

- COPY OF CURRENT INSURANCES

- TERO COMPLIANCE FORM

- LETTER FROM BONDING SURETY (If required)

- COPY OF MINNESOTA CONTRACTOR’S LICENSE (if applicable)

- SUB-CONTRACTOR LISTS (Include values)

NAME: ________________________________________TITLE:________________________

SIGNATURE: _______________________________________DATE:____________________

FIRM NAME: ________________________________TELEPHONE:_____________________

ADDRESS: ____________________________________________________________________

EMAIL ADDRESS: ____________________________________________________________