MILLE LACS BAND OF OJIBWE

PRE-BID ADDENDUM #1 43572 Henry Davis Drive, Onamia

September 21, 2020

**NOTE TO BIDDERS: This addendum shall take precedence over and become a part of the original request for proposal, plans and specifications.**

**All bidders must acknowledge receipt on the bid form.**

1. Timberline Shingle Selection – Weathered Wood
2. One RFP dated 9/16/2020, change item #26 to read: On the gable ends, contractor shall install strip of sheathing for gap in truss height. Contractor shall install house wrap over new sheathing. Contractor shall demo and dispose of existing siding on gable ends above the exterior wall height. Contractor shall supply and install LP Smart Siding Frieze Board and Certainteed Northwoods 7” shakes in place of the removed siding. Both frieze board and shakes shall be Sable Brown in color.
3. One RFP dated 9/16/2020, change item #33 to read: Contractor shall demo and replace all lower kitchen cabinets including the countertop, sink, and faucet; match existing finishes.
4. One RFP dated 9/16/2020, change item #35 to read: Adjust siding to fit new windows. Install 2” bronze brick mould around all per Spec Book. Caulk around perimeter.

\*End of Addendum #1 – September 21, 2020\*