Community Development

REQUEST FOR PROPOSAL

OWNER:        MILLE LACS BAND OF OJIBWE		DATE ISSUED:    December 22, 2020

43408 OODENA DRIVE

ONAMIA, MN 56359                   		BID DATE:           January 20, 2021

PROJECT:    East Lake Ceremonial Building Remodel

TO: 	         QUALIFIED GENERAL CONTRACTORS

________________________________________________________________________________________

The Mille Lacs Band of Ojibwe, Community Development office will be accepting sealed lump sum bids for a commercial remodel project to be completed at the East Lake Ceremonial Building located at 20848 367th Lane, McGregor, MN. Bids will be due Wednesday, January 20, 2021 at 3:00 PM.  Bids received will be opened and qualified by the Mille Lacs Band of Ojibwe on Thursday January 21, 2021 at 9:00 AM.

A mandatory pre-bid site visit will be held on: Wednesday January 6, 2021 at 2:00 PM. Project plans and product specifications will be available to bidders at the pre-bid site visit.

General Notes:

- It is the Contractors responsibility to identify any and all discrepancies in the scope of work, not meeting Industry Standards or that which is inconsistent with the International Building Code (IBC), and Mille Lacs Band of Ojibwe 2016 MLB Project Specification Book.

- Contractor will secure all permits and fees.

- Contractor is responsible for a thorough investigation of the scope of work.

- Contractor will repair any damage to the property or structure created by the scope of work.

- NO WORK SHALL BE PERFORMED UNTIL ALL REQUIRED PERMITS HAVE BEEN ISSUED AND COPIES IN THE POSSESSION OF THE PROJECT COORDINATOR AND /OR MILLE LACS BAND BUILDING OFFICIAL.

COMMUNITY DEVELOPMENT WILL, TO THE GREATEST EXTENT FEASIBLE, GIVE PREFERENCE IN THE AWARD OF CONTRACT TO INDIAN ORGANIZATIONS AND INDIAN-OWNED ECONOMIC ENTERPRISES.

Project Narrative:

This project will consist of remodel of our East Lake Ceremonial Building.  Work will include LED lighting upgrades, Kitchen remodel, selective interior finish restoration, wood floor re-finishing, exterior cladding repairs and re-finish, fencing replacement, parking lot lighting replacement, and parking lot expansion.

Work Scope:

Building Interior:

- Ceremonial Hall:

- Provide storage container on site and remove seating from building for construction work.  Re-install seating at project completion.

- Sand and Re-finish the oak flooring.  Carefully repair / replace any flooring with deep scratching or gouging that is not rectified by floor sanding operations.  Sand with multiple grits until floor is free of sanding marks, vaccum clean and apply sanding sealer, stain and two oil modiefied polyurethane top coat.  Stain color and Finish sheen to be selected by the Owner.  Finish products by Bona DriFast Stain, Sealer, and Woodline Poly.  Contractor responsible to protect floor until project completion.

- Repair and re-finish upper skylight drywall tape, finish and paint.

- Convert existing track lighting in upper skylight area to LED bulbs.

- Convert existing perimeter linear perforated cove lighting to LED.

- Convert existing perforated wall sconce lighting to LED.

- Convert existing recessed can light assemblies to LED.

- Bathrooms:

- Demo and Replace flooring.  New flooring to be Mannington

- Mechanical Room:

- Demo and Replace water heater unit. AO Smith, sized to match existing capacity and configuration.

- Kitchen Area:

- See attached partial floor plan for kitchen modification layout and notes.

- Remove existing counters, tables, sinks, dishwasher equipment and flooring.

- Construct new kitchen wall at the bulkhead line (Grid 2).  Modify existing kitchen wall to accommodate new layout.  Remove stained glass window (safely store for Owner) and construct interior partitions to create the new pantry closet.  Provide and install new HM frame, door and hardware.

- Provide and install new cabinet base curb per new kitchen layout.

- Provide and install new daltile Quary Textures quarry tile flooring with integral base and epoxy grout.  Owner to select color.

- Provide and install new P-lam frameless base cabinets per new kitchen layout.  Provide door handles and cabinet locks.

- Provide and install new stainless steel countertops in the kitchen area, and post formed P-Lam countertop at the serving window. Bid Alternate #1: Upgrade this top section to stainless steel.

- Replace damaged ceiling tile in the existing kitchen area.  Re-configure acoustical ceiling grid in the hall space that is modified as new kitchen space.  Install 3 LED troffer light fixtures, and replace the existing kitchen troffer light fixtures with LED fixtures.

Building Exterior:

- Demo and replace exterior wood fencing around mechanical equipment and section along the retaining wall.

- Demo and replace exterior wall pack light fixtures and exterior building flood lights with LED fixtures.  Provide a $2,500.00 material allowance for the replacement light fixtures.

- Convert existing exterior recessed lighting to LED.

- Replace parking lot lighting unit heads with LED.  Provide a $7,500 material allowance for replacement fixtures.

- Replace existing wood light standards with  4” steel standards, and concrete bases per section detail B2.

- Provide and install additional standard, base (per section detail B1), mount and 2 heads for parking lot island area that will be infilled.

- Repair stone wainscot around building perimeter.  Match product as closely as possible to original product.  If match is not available, carefully remove section near kitchen entrance and utilize for patching.  Install new close matching product at the kitchen entrance.

- Clean and prep building exterior for re-finishing of the cedar siding, trim and soffit materials.  Prep Exterior per stain manufactures instructions including, but not limited to: wood fill were needed, cleaning and media blasting of unsatisfactory substrate materials (Southeast Elevation).

- Stain exterior with solid color Sikkens Cetol SRD Stain.   Stain must be applied per manufactures instructions.  Owner to choose color.

- Prep and paint exterior HM doors and frames.

- Repair existing building gutters, downspouts and gutter accessories.

- Remove vegetation, topsoil and unsuitable materials from parking lot island area.  Cut section of asphalt across drive entrance and remove culvert. Import pit run material to fill the area compacting in lifts to 98%.  Install geotextile fabric and 12” class 5 base material and asphalt per section detail.  Contractor to be responsible for compaction testing of the base material prior to paving.

- Repair existing asphalt parking lot cracks and sealcoat.  Re-stripe parking lot, including directional arrows, handicap stall identification, and parking stall lines.

- Repair and restore finish grade where culvert is removed and seed area when complete.

- Provide $30,000.00 Building Contingency Allowance in base bid to be utilized by Owner for unforeseen conditions or modifications to the project work scope.  All work completed under this allowance must be approved by the Owner prior to commencing any work.

Bid Alternate #1:   Add for kitchen serving counter upgrade to stainless steel top.

Specified Product Substitutions:

All proposed product substitutions must be approved by the Project Coordinator 5 days prior to bid.  Any approved substitutions, will be made available to all bidders.

Contacts:

Interested bidders shall contact Ryan Jendro, Project Manager, at 320.630.5011 or at ryan.jendro@millelacsband.com to obtain bid form and to be included on the bidder’s list in the event that any addendums are issued for this project.

Bidding notes:

- Submit proposal in lump sum (supply and install), not to exceed amount

- All Contractors (including subcontractors) must comply with Davis Bacon wage requirements.

- All Contractors must provide the following along with their bid submittal:

  - Completed and signed MLB Community Development Construction Bid Form

  - A copy of Current MLB Vendor’s License (or a copy of the submitted application)

  - A copy of Current Insurance Certificate

  - Surety Bond Letter

  - A copy of Subcontractor/Material Supplier list

  - A copy of  valid State of Minnesota Contractor’s License

  - A copy of Authorized Signature Sheet (submitted with first bid submittal)

- All Contractors must comply with all Mille Lacs Band of Ojibwe American Indian Employment requirements (see 18 MLBSA § 5). Contact Lori Trail at (320) 532-4778.

All proposals must be mailed and labeled as follows:

Mille Lacs Band of Ojibwe

Commissioner of Community Development

Sealed bid: East Lake Ceremonial Building Remodel Project

P.O. Box 509

Onamia, MN 56359

**Please note that the bids must be submitted via mail to the P.O. Box. FedEx and UPS will not deliver to a P.O. Box and the Onamia post office will not accept hand delivered items. Please plan accordingly to ensure the timely receipt of your bid submittal. **

**The Band reserves the right to reject any bid that it is unable to collect at the Onamia post office by the bid deadline date and time, provided that the Band has made diligent and reasonable efforts to collect the bid. The Band reserves this right even in the event that the bid has been postmarked before the deadline.

PROPOSALS NOT SUBMITTED IN THIS MANNER WILL BE REJECTED.

Licensing:

Firms must be licensed with the Mille Lacs Band of Ojibwe.  A copy of this license (or the license application) must accompany each bid. Licensing process can take several weeks. If you are not currently licensed with the MLBO, please submit a copy of your license application along with your proposal. Contact Elizabeth Thornbloom at (320) 532-8274 or via email at EThornbloom@grcasinos.com  with questions regarding licensing and for the license application.

PERMIT AND CONTRACTOR REQUIREMENTS:

Permits:  Contractors are responsible to attain all necessary permits for all work, including Mille Lacs Band of Ojibwe (MLBO) Permits.

Bonding Requirements:  In accordance with 2016 MLB Project Specification Book.

MLBSA Section 17 Procurement Statue Ordinance 03-06 states the following:

Section 17. Bonding

- In construction contracts that are federally funded or deemed commercial, bonding is required.  These types of contracts shall demand a performance bond not less than twenty (20%) percent of the total contract price, but not to exceed $500,000.00.  A performance bond requirement is to ensure that, if a contractor defaults, the Band may request that the surety pay the expense incurred to complete the construction contract.

- In addition, all construction contracts identified as federally funded or commercial shall be covered by a payment bond equal to one payment installment or cover subcontractors/suppliers as determined by the Contracting Officer or his agents.  The payment bond must contain language stating that if the contractor fails to make a payment to its subcontractors/suppliers, the surety will make the necessary payment.

SECTION II – BIDDING FORMS

Bidding Requirements and Contract Forms

COMMUNITY DEVELOPMENT

PROJECT MANAGEMENT

FY 2021 CONSTRUCTION BID FORM

REQUIRED FOR ALL BIDS

FIRM NAME: ____________________________________________________________________________

JOB/PROJECT:    East Lake Ceremonial Building Remodel Project

BASE BID – (Labor and materials):

___________________________________________________________________________$____________________

(Written Value)                                                                                                                    (Dollar Amount)

ALTERNATE #1 Kitchen Serving Counter SS Upgrade

__________________________________________________________________________$____________________

(Written Value)                                                                                                                  (Dollar Amount)

ALTERNATE #2 (if applicable)

___________________________________________________________________________$____________________

(Written Value)                                                                                                                  (Dollar Amount)

Acknowledgement of Addendum(s): 1) __________ date    2) ___________date   3) ___________date

BID GUARANTEE PERIOD:

I agree to hold this bid open for a period of 90 days after the bid opening.  If this bid is accepted I agree to execute a Contract and/or a Purchase Order with the Mille Lacs Band of Ojibwe along with furnishing all required bonding (if required) and insurances.

TERO COMPLIANCE:

I understand that this company, its subcontractors and all employees performing work on this project will be expected to comply with all Mille Lacs Band TERO Compliance Regulations. Upon being informed that I will be awarded a contract for this project, I will submit all required TERO Compliance Plans directly to the MLB TERO Office for review and approval.

Acknowledgement of TERO Compliance:  _________________________

ATTACHMENTS REQUIRED:  Failure to provide any of these attachments will result in bid disqualification.

- MLB BID FORM (MUST BE SIGNED)

- MLBO VENDOR LICENSE

- COPY OF CURRENT INSURANCES

- LETTER FROM BONDING SURETY (REQUIRED)

- COPY OF MINNESOTA CONTRACTORS LICENSE (if required)

- SUB-CONTRACTOR/SUPPLIER LIST (Include values)

NAME: ________________________________________TITLE:________________________

SIGNATURE: _______________________________________DATE:____________________

FIRM NAME: ________________________________TELEPHONE:_____________________

ADDRESS: ____________________________________________________________________

EMAIL ADDRESS: _____________________________________________________________