Community Development

REQUEST FOR PROPOSAL

OWNER:        MILLE LACS BAND OF OJIBWE		DATE ISSUED:      July 18, 2018

43408 OODENA DRIVE

ONAMIA, MN 56359                   		BID DATE:          August 8, 2018

PROJECT:      2566 Wiigwaas Street, Hinckley MN

TO: 	    QUALIFIED GENERAL CONTRACTORS

THIS IS NOT A CHANGE ORDER NOR A DIRECTION TO PROCEED WITH THE WORK DESCRIBED HEREIN.

The Mille Lacs Band of Ojibwe, Community Development office will be accepting sealed lump sum bids for renovation at 2566 Wiigwaas Street, Hinckley MN.   Bids will be due Wednesday August 8, 2018 at 3:00 PM.  Bids received will be opened and qualified by the Mille Lacs Band of Ojibwe on Thursday August 9, 2018 at 8:30 AM.

A mandatory Pre-Bid site visit will be held on Tuesday, July 24, 2018 at 3:30 p.m. or immediately following the Pre-Bid site visit at 39838 VanGorden Rd.

General Notes:

- It is the Contractors responsibility to identify any and all discrepancies in the scope of work, not meeting Industry Standards or that which is inconsistent with the International Residential Code (IRC), and Mille Lacs Band of Ojibwe 2016 MLB Project Specification Book.

- All electrical wiring, apparatus and equipment for electric light, heat and power, technology circuits or systems shall comply with the rules of the Department of Commerce or the Department of Labor and Industry, as applicable, and be installed in conformity with accepted standards of construction for safety to life and property.

- Contractor must reconnect all utilities, service panel or service feed. Also includes gas, propane.  Include such equipment or materials identified in the pre-bid conference.

- Contractor will secure all permits and fees.

- Contractor is responsible for a thorough investigation of the scope of work.

- Contractor will repair any damage to the property or structure created by the scope of work.

- NO WORK SHALL BE PERFORMED UNTIL ALL REQUIRED PERMITS HAVE BEEN ISSUED AND COPIES IN THE POSSESSION OF THE PROJECT COORDINATOR AND /OR MILLE LACS BAND BUILDING OFFICIAL.

Work Scope Description:

Exterior:

- Demo and replace all damaged siding and accessories, including shutters on front side of home. All replaced siding shall be color matched to existing.

- Pressure wash and clean all siding and exterior surfaces.

- Demo and replace exterior light fixtures with spec product.

- Supply and install spec exterior receptacle covers.

- Demo and replace metal jamb side trim for overhead garage door, match existing color.

- Cap end of upper level gutter that spills into gutter above the garage. Install a downspout with adapter & elbow so that downspout flows into the gutter above the front of the garage.

- Demo and replace front entry door slab, finished per Spec Book.

- Refinish front entry door frame and replace weatherstripping.

- Demo and replace lock sets on the front entry, garage service and rear garage entry doors with spec product. All lock sets to be keyed alike.

- Demo patio door. Modify the opening to fit 3’ entry door per Spec Book. Supply and install spec entry door with storm door. Install lock set per Spec Book; to be keyed alike all other new lock sets. After modified, finish this section of exterior wall by in-filling siding (color match to existing), insulation, vapor & air barriers per Spec Book.

- Supply and install spec storm doors to front and back entries.

- Pressure wash the deck and stairs. Replace all cap boards. Stain all deck surfaces with Sherwin Williams Super Deck Exterior Waterborne solid stain per S.W. instructions. Color selection is SW 9115 Cowboy Boots.

- Demo and replace all damaged windows components, including but not limited to panes, sashes, locking mechanisms.

- Supply and install missing or demo and replace damaged window screens.

- Supply and install spec AC unit condenser, controller and lineset.

- Provide materials and labor to construct a 4’x4’ concrete pad 4” thick. Supply and install AC-Guard security cage model AC GU with AC-Guard Top Bar to be anchored with ½”x 3” Red Head anchor sleeves to the 4’x4’ pad.

- Replace missing or damaged gutter downspouts.

- Dispose of any existing splash pads. Contractor shall supply and install all new splashpads for the Spec Book.

- Contractor shall have new ECE meter install and reinstall the socket cover.

- Supply and install black dirt to fill the holes dug along the foundation.

- Supply and install j-block cover for the dryer vent.

Interior:

- Contractor shall provide dehumidification throughout renovation to minimize swelling.

- Install sheet rock for modified rear entry door opening. Texture, paint and finish, including installation of baseboard stained to match existing finish.

- Supply and install new garage service door. Install new lock set to be keyed alike front and rear entries.

- Supply and install bright colored padding over the overhead garage door railing located above the garage service door opening. (May want to use a pool noodle.)

- Demo and replace all smoke detectors with spec combo smoke c/o detector to meet code compliance.

- Patch, texture, prime and paint all interior drywall surfaces. Texturing to match existing  as closely as possible. Prime all lower level drywall with Zinsser mold killing primer. Repaint Dover White.

- Demo and replace; or supply and install any missing, damaged or painted receptacle and switch covers.

- Remove existing ceiling fans. Supply and install new surface mount light fixtures and controllers.

- Demo and replace all interior light fixtures per Spec Book, to include all new light bulbs per schedule.

- Demo and replace flooring throughout with spec sheet vinyl. To include supply and install spec underlayment. Vinyl selection to be 58020 Oasis Beige. Grind and prep subfloors as needed for a neat even finished appearance.

- Demo bi-fold closet doors on front entry closet. Supply and install double doors per Spec Book, stain and hardware to match existing finishes. Schlage knobs shall match existing style.

- Replace cap board and handrail for upper section of stairs at front entry. Finish to match existing.

- Replace damaged stair tread, match to existing.

- Demo and replace range hood, spec unit vented to the exterior.

- Thoroughly clean all kitchen cabinet surfaces, to include counter tops and kitchen sink. Supply and install liner for cabinet beneath kitchen sink. Supply and install missing shelving or hardware. All new hardware to match existing finishes. Adjust all cabinets.

- Demo and replace base-boards throughout with spec products. Base stain to match existing finishes in home. Spec vinyl base to be installed in bathrooms and mechanical room.

- Demo and replace window extension jambs. To include spray foaming during installation.

- Demo and replace window casings with spec products, matching existing finishes.

- Thoroughly clean all window surfaces.

- Demo and replace floor vents, diffusers and return air covers with spec products.

- Demo and replace bath vanities and bath faucets with spec products reusing the existing sinks. Thoroughly clean sinks.

- Demo and replace bathroom mirrors and medicine cabinets with spec products.

- Demo and replace showerheads with Moen product similar to Spec model.

- Demo and replace bath fans with spec products vented to the exterior.

- Thoroughly clean tubs and surrounds.

- Thoroughly clean toilets.

- Re-caulk counter tops, toilet stool bases, tub/shower surrounds, as needed.

- Supply and install door-stops throughout with spec product.

- Demo all existing closet shelving. Supply and install wire closet shelving per Spec Book throughout the home.

- Demo and replace all lower level and one upper bedroom interior doors and hardware with spec products, doors stained to match existing finishes, hardware to match existing finish. Schlage knobs shall match existing style.

- Clean and adjust all interior doors being reused.

- Refit and seal the attic access cover.

- Remove casing, bi-fold doors and hardware from upper level bedroom closets. Wrap baseboard around closet opening. Patch and finish drywall as needed for sheet rock opening. No doors to be installed.

- Demo and replace damaged sheetrock to repair the hole in lower level ceiling of the family room. Prime, texture and paint along with all other drywall surfaces.

- Sand and refinish cap board on basement half walls.

- Supply and install new furnace per Spec Book.

- Service existing HRV unit.

- Supply and install new washer and dryer per Spec Book and dispose of existing.

- Demo existing laundry tub and replace with Swanstone Composite model MF-F with legs.

- Clean and paint mechanical/ laundry room floor per Spec Book.

- Insulate exposed plumbing pipes in mechanical room per Spec Book.

Bid Alternate #1: Provide cost to demo and replace and window blinds with Spec product.

Bid Alternate #2: Provide added cost to demo and replace cap board on all basement half walls, to match existing finishes instead of sanding and refinishing.

Specified Product Substitutions:  All proposed product substitutions must be approved by the Project Coordinator 5 days prior to bid.  Any approved substitutions, will be made available to all bidders.

Contacts:

Interested bidders shall contact either Carla Dunkley at 320-532-7429 or by email at carla.dunkley@millelacsband.com to be included on the bidder’s list in the event that any addendums are issued for this project.

Mobilization:

- The Contractor shall be capable of mobilizing his equipment and crews within seven days of the receipt of Notice to Proceed.

- Contractor shall provide means and methods for all building phases of construction.

COMMUNITY DEVELOPMENT/PROJECT MANAGEMENT RESERVES THE RIGHT TO REJECT ANY AND ALL BIDS FOR ANY REASON.

COMMUNITY DEVELOPMENT WILL, TO THE GREATEST EXTENT FEASIBLE, GIVE PREFERENCE IN THE AWARD OF CONTRACT TO INDIAN ORGANIZATIONS AND INDIAN-OWNED ECONOMIC ENTERPRISES.

Bidding notes:

- Submit proposal in lump sum (supply and install), not to exceed amount

- All Contractors (including subcontractors) must comply with Davis Bacon wage requirements.

- All Contractors must provide the following along with their bid submittal:

  - Completed and signed MLB Community Development Construction Bid Form

  - A copy of Current MLB Vendor’s License (or a copy of the submitted application)

  - A copy of Current Insurance Certificate

  - Completed and signed copy of the TERO Compliance Plan

  - A copy of Subcontractor/Material Supplier list

  - A copy of  valid State of Minnesota Contractor’s License

  - A copy of Authorized Signature Sheet (submitted with first bid submittal)

- All Contractors must comply with all Mille Lacs Band of Ojibwe American Indian Employment requirements (see 18 MLBSA § 5). Contact Craig Hansen at (320) 532-4778.

All proposals must be mailed and labeled as follows:

Mille Lacs Band of Ojibwe

Commissioner of Community Development

Sealed bid: 2566 Wiigwaas Street.

PO Box 509

Onamia, MN 56359

**Please note that the bids submitted via mail to the P.O. Box. FedEx and UPS will not deliver to a P.O. Box and the Onamia post office will not accept hand delivered items. Please plan accordingly to ensure the timely receipt of your bid submittal. Do not require delivery signature.**

**The Band reserves the right to reject any bid that it is unable to collect at the Onamia post office by the bid deadline date and time, provided that the Band has made diligent and reasonable efforts to collect the bid. The Band reserves this right even in the event that the bid has been postmarked before the deadline.

PROPOSALS NOT SUBMITTED IN THIS MANNER WILL BE REJECTED.

Licensing:

- Firms must be licensed with the Mille Lacs Band of Ojibwe.  A copy of this license (or the license application) must accompany each bid. Licensing process can take several weeks. If you are not currently licensed with the MLBO, please submit a copy of your license application along with your proposal. Contact Elizabeth Thornbloom at (320)532-8274 or via email at EThornbloom@mlcv.com with questions regarding licensing and for the license application.

PERMIT AND CONTRACTOR REQUIREMENTS:

Permits:  Contractors are responsible to attain all necessary permits for all work, including Mille Lacs Band of Ojibwe (MLBO) Permits.  Both sites will require city and county permitting.

Bonding Requirements:  In accordance with 2016 MLB Project Specification Book.  Please note that bonding requirements on Mille Lacs Band Funded Residential projects has changed.  All projects over $50,000 require bonding regardless of company ownership.

MLBSA Section 17 Procurement Statue Ordinance 03-06 states the following:

Section 17. Bonding

- For all Band funded residential construction projects, a performance bond is required for contracts in excess of $50,000.00.  The performance bond shall be at a minimum twenty (20%) percent of the contract price, but not in excess of $500,000.00.

SECTION II – BIDDING FORMS

Bidding Requirements and Contract Forms

COMMUNITY DEVELOPMENT

PROJECT MANAGEMENT

FY 2018 CONSTRUCTION BID FORM

REQUIRED FOR ALL BIDS

FIRM NAME: __________________________________________________________________________

JOB/PROJECT:  2566 Wiigwaas Street, Hinckley MN

LUMP SUM PRICE:

__________________________________________________________________$____________________

(Written Value)                                                                                               (Dollar Amount)

ALTERNATE #1: (Add to Replace Window Blinds)

__________________________________________________________________$____________________

(Written Value)                                                                                               (Dollar Amount)

ALTERNATE #1: (Add to Replace Capboard Instead of Refinish

__________________________________________________________________$____________________

(Written Value)                                                                                               (Dollar Amount)

Acknowledgement of Addendum(s): 1) __________ date    2) ___________date   3) ___________date

BID GUARANTEE PERIOD:

I agree to hold this bid open for a period of 90 days after the bid opening.  If this bid is accepted I agree to execute a Contract and/or a Purchase Order with the Mille Lacs Band of Ojibwe along with furnishing all required bonding (if required) and insurances.

TERO COMPLIANCE:

I understand that this company, its subcontractors and all employees performing work on this project will be expected to comply with all Mille Lacs Band TERO Compliance Regulations. Upon being informed that I will be awarded a contract for this project, I will submit all required TERO Compliance Plans directly to the MLB TERO Office for review and approval.

Acknowledgement of TERO Compliance:  _________________________

ATTACHMENTS REQUIRED:  Failure to provide any of these attachments will result in bid disqualification.

- MLB BID FORM (MUST BE SIGNED)

- MLBO VENDOR LICENSE

- COPY OF CURRENT INSURANCES

- LETTER FROM BONDING SURETY

- COPY OF MINNESOTA CONTRACTOR’S LICENSE

- SUB-CONTRACTOR LISTS (Include values)

NAME: ________________________________________TITLE:________________________

SIGNATURE: _______________________________________DATE:____________________

FIRM NAME: ________________________________TELEPHONE:_____________________

ADDRESS: ____________________________________________________________________

EMAIL ADDRESS: ____________________________________________________________