Community Development

REQUEST FOR PROPOSAL

OWNER:        MILLE LACS BAND OF OJIBWE		DATE ISSUED       July 18, 2018

43408 OODENA DRIVE

ONAMIA, MN 56359                   		BID DATE:          August 8, 2018

PROJECT:      39838 Van Gorden Road, Hinckley MN

TO: 	    QUALIFIED GENERAL CONTRACTORS

THIS IS NOT A CHANGE ORDER NOR A DIRECTION TO PROCEED WITH THE WORK DESCRIBED HEREIN.

The Mille Lacs Band of Ojibwe, Community Development office will be accepting sealed lump sum bids for a residential renovation at 39838 Van Gorden Road, Hinckley MN.   Bids will be due Wednesday August 8, 2018 at 3:00 PM.  Bids received will be opened and qualified by the Mille Lacs Band of Ojibwe on Thursday August 9, 2018 at 8:30 AM.

A mandatory Pre-Bid site visit will be held on Tuesday July 24, 2018 at 2:00 PM.

General Notes:

- It is the Contractors responsibility to identify any and all discrepancies in the scope of work, not meeting Industry Standards or that which is inconsistent with the International Residential Code (IRC), and Mille Lacs Band of Ojibwe 2016 MLB Project Specification Book.

- All electrical wiring, apparatus and equipment for electric light, heat and power, technology circuits or systems shall comply with the rules of the Department of Commerce or the Department of Labor and Industry, as applicable, and be installed in conformity with accepted standards of construction for safety to life and property.

- Contractor must reconnect all utilities, service panel or service feed. Also includes gas, propane.  Include such equipment or materials identified in the pre-bid conference.

- Contractor will secure all permits and fees.

- Contractor is responsible for a thorough investigation of the scope of work.

- Contractor will repair any damage to the property or structure created by the scope of work.

- NO WORK SHALL BE PERFORMED UNTIL ALL REQUIRED PERMITS HAVE BEEN ISSUED AND COPIES IN THE POSSESSION OF THE PROJECT COORDINATOR AND /OR MILLE LACS BAND BUILDING OFFICIAL.

Work Scope Description:

Exterior:

- Demo and replace all damaged vinyl siding and accessories, color match to existing.

- Pressure wash and clean all siding components.

- Create metal trim corner covers to be riveted to the existing foundation coil stock.

- Demo and replace exterior light fixtures with spec product, including new light bulbs.

- Repair or demo and replace all damaged window components, including but not limited to: panes and locking mechanisms.

- Demo and replace broken or bent window screens. Supply and install missing screens.

- Demo and replace lock sets on the front entry, garage service and garage side entry doors with spec product. All lock sets to be keyed alike.

- Demo patio door. Modify the opening to fit 3’ entry door per Spec Book. Supply and install spec entry door with storm door. Install lock set per Spec Book; to be keyed alike all other new lock sets. After modified, finish this section of exterior wall by in-filling siding (color match to existing), insulation, vapor & air barriers per Spec Book.

- Demo and replace front storm door closer.

- Demo and replace weather stripping for front entry door.

- Demo and replace damaged gutter components. Demo the existing gutter downspout located at the front left corner of the house and replace with a 3”x5” downspout. Remove the downspout located at the front left garage corner and patch the gutter section above to abandon the underground discharge.

- Patch the cracked section of sidewalk located at the corner of the garage.

- Dispose of any existing splash pads. Contractor shall supply and install all new splashpads for the Spec Book.

- Replace 2 damaged panels of the overhead garage door. Alternate #1: Provide added cost to demo & replace the entire overhead garage door.

- Demo & replace weather stripping for garage overhead door.

- Replace damaged septic tank riser. Supply and install tank lid for new riser.

- Pump septic tanks prior to using any water in the home. Contractor shall submit a copy of the pumping invoice to the Owner.

- Supply and install spec AC unit condenser, controller and lineset.

- Provide materials and labor to construct a 4’x4’ concrete pad 4” thick. Supply and install AC-Guard security cage model AC GU with AC-Guard Top Bar to be anchored with ½”x 3” Red Head anchor sleeves to the 4’x4’ pad.

- Contractor shall have propane gas line replaced and have a new regulator installed.

- Remove off peak meter base from the side of the garage and disconnected from the main panel. Patch siding to cover hole for removed meter.

- Replace damaged electrical stub out located by the exterior garage service door.

- Contractor shall establish new electrical service and meter installation.

Interior:

- Contractor shall provide dehumidification throughout renovation to minimize swelling.

- Wash all interior wall surfaces with a nonabrasive cleaner. Patch and texture to match existing drywall surfaces. Repaint all interior wall surfaces.

- Install sheet rock for modified rear entry door opening. Texture, paint and finish, including installation of baseboard stained to match existing finish.

- Remove existing ceiling fan. Supply and install new surface mount light fixture and controller. Install fixture with brass base to match fixtures in the bedrooms.

- Supply and install new surface mount light fixture in kitchen, with brass base to match fixtures in the bedrooms.

- Clean all interior lighting fixtures. Supply and install new lightbulbs throughout per Spec Book schedule.

- Demo and replace all smoke detectors with spec combo smoke/carbon monoxide detectors to meet code compliance.

- Demo and replace all cracked or missing receptacle and switch covers throughout.

- Remove existing carpet and replace with spec vinyl flooring, 58020 Oasis Beige. Install transition strips where new vinyl meets existing.

- Resecure loose vinyl base in bathroom.

- Thoroughly clean all kitchen cabinet surfaces, to include counter tops and kitchen sink. Supply and install liner for cabinet beneath kitchen sink. Supply and install missing cabinet drawers, shelving, doors and cutting board. All new hardware and stain should match existing finishes. Adjust all cabinets.

- Remove and dispose of existing dishwasher. Supply and install 24” lower cabinet for opening where dishwasher was located. All new hardware and stain should match existing finishes.

- Supply and install range hood, spec unit vented to the exterior.

- Supply and install range, refrigerator, washer and dryer per Spec Book.

- Re-caulk counter tops, toilet stool bases, tub/shower surrounds, as needed.

- Supply and install missing drain stops throughout.

- Supply and install any missing cabinet shelving and accessories.

- Thoroughly clean all window surfaces.

- Sand and refinish all bottom window extension jambs.

- Demo window blinds throughout and replace with spec product.

- Demo and replace or supply and install missing or damaged heating system vents and diffusers.

- Thoroughly clean all tubs and surround surfaces, including tile in the handicap shower.

- Thoroughly clean toilets.

- Remove existing damaged shower head in the handicap shower. Supply and install new shower head per Spec Book.

- Supply and install missing; or demo and replace damaged bath accessories.

- Thoroughly clean all interior doors, door jambs and door hardware.

- Supply and install missing or replace damaged doorstops throughout.

- Demo all existing closet shelving. Supply and install wire closet shelving per Spec Book throughout the home.

- Abandon in-floor heat system. Remove and dispose of any existing components, including controller in living room. Patch and paint sheetrock where controller was located.

- Supply and install new furnace per Spec Book.

- Service existing HRV unit.

- Install new service feeds, including junction boxes, if needed. Update electrical panel labeling.

- Supply & install pressure gauge and sill caulk for well pressure tank.

- Supply and install floor drain cover in mechanical room.

- Supply and install water heater per Spec Book.

- Contractor shall test water system after repairing and check for leaks. Contractor shall notify Owner if any problems are discovered.

Specified Product Substitutions:  All proposed product substitutions must be approved by the Project Coordinator 5 days prior to bid.  Any approved substitutions, will be made available to all bidders.

Contacts:

Interested bidders shall contact either Carla Dunkley at 320-532-7429 or by email at carla.dunkley@millelacsband.com to be included on the bidder’s list in the event that any addendums are issued for this project.

Mobilization:

- The Contractor shall be capable of mobilizing his equipment and crews within seven days of the receipt of Notice to Proceed.

- Contractor shall provide means and methods for all building phases of construction.

COMMUNITY DEVELOPMENT/PROJECT MANAGEMENT RESERVES THE RIGHT TO REJECT ANY AND ALL BIDS FOR ANY REASON.

COMMUNITY DEVELOPMENT WILL, TO THE GREATEST EXTENT FEASIBLE, GIVE PREFERENCE IN THE AWARD OF CONTRACT TO INDIAN ORGANIZATIONS AND INDIAN-OWNED ECONOMIC ENTERPRISES.

Bidding notes:

- Submit proposal in lump sum (supply and install), not to exceed amount

- All Contractors (including subcontractors) must comply with Davis Bacon wage requirements.

- All Contractors must provide the following along with their bid submittal:

  - Completed and signed MLB Community Development Construction Bid Form

  - A copy of Current MLB Vendor’s License (or a copy of the submitted application)

  - A copy of Current Insurance Certificate

  - Bonding Surety letter

  - Completed and signed copy of the TERO Compliance Plan

  - A copy of Subcontractor/Material Supplier list

  - A copy of  valid State of Minnesota Contractor’s License

  - A copy of Authorized Signature Sheet (submitted with first bid submittal)

- All Contractors must comply with all Mille Lacs Band of Ojibwe American Indian Employment requirements (see 18 MLBSA § 5). Contact Craig Hansen at (320) 532-4778.

All proposals must be mailed and labeled as follows:

Mille Lacs Band of Ojibwe

Commissioner of Community Development

Sealed bid: 39838 Van Gorden Road

PO Box 509

Onamia, MN 56359

**Please note that the bids submitted via mail to the P.O. Box. FedEx and UPS will not deliver to a P.O. Box and the Onamia post office will not accept hand delivered items. Please plan accordingly to ensure the timely receipt of your bid submittal. Do not require delivery signature.**

**The Band reserves the right to reject any bid that it is unable to collect at the Onamia post office by the bid deadline date and time, provided that the Band has made diligent and reasonable efforts to collect the bid. The Band reserves this right even in the event that the bid has been postmarked before the deadline.

PROPOSALS NOT SUBMITTED IN THIS MANNER WILL BE REJECTED.

Licensing:

- Firms must be licensed with the Mille Lacs Band of Ojibwe.  A copy of this license (or the license application) must accompany each bid. Licensing process can take several weeks. If you are not currently licensed with the MLBO, please submit a copy of your license application along with your proposal. Contact Elizabeth Thornbloom at (320)532-8274 or via email at EThornbloom@mlcv.com with questions regarding licensing and for the license application.

PERMIT AND CONTRACTOR REQUIREMENTS:

Permits:  Contractors are responsible to attain all necessary permits for all work, including Mille Lacs Band of Ojibwe (MLBO) Permits.  Both sites will require city and county permitting.

Bonding Requirements:  In accordance with 2016 MLB Project Specification Book.  Please note that bonding requirements on Mille Lacs Band Funded Residential projects has changed.  All projects over $50,000 require bonding regardless of company ownership.

MLBSA Section 17 Procurement Statue Ordinance 03-06 states the following:

Section 17. Bonding

- For all Band funded residential construction projects, a performance bond is required for contracts in excess of $50,000.00.  The performance bond shall be at a minimum twenty (20%) percent of the contract price, but not in excess of $500,000.00.

SECTION II – BIDDING FORMS

Bidding Requirements and Contract Forms

COMMUNITY DEVELOPMENT

PROJECT MANAGEMENT

FY 2018 CONSTRUCTION BID FORM

REQUIRED FOR ALL BIDS

FIRM NAME: __________________________________________________________________________

JOB/PROJECT:  39838 Van Gorden Road, Hinckley MN

LUMP SUM PRICE:

__________________________________________________________________$____________________

(Written Value)                                                                                               (Dollar Amount)

ALTERNATE #1: (Add to Install New Overhead Garage Door)

__________________________________________________________________$____________________

(Written Value)                                                                                               (Dollar Amount)

Acknowledgement of Addendum(s): 1) __________ date    2) ___________date   3) ___________date

BID GUARANTEE PERIOD:

I agree to hold this bid open for a period of 90 days after the bid opening.  If this bid is accepted I agree to execute a Contract and/or a Purchase Order with the Mille Lacs Band of Ojibwe along with furnishing all required bonding (if required) and insurances.

TERO COMPLIANCE:

I understand that this company, its subcontractors and all employees performing work on this project will be expected to comply with all Mille Lacs Band TERO Compliance Regulations. Upon being informed that I will be awarded a contract for this project, I will submit all required TERO Compliance Plans directly to the MLB TERO Office for review and approval.

Acknowledgement of TERO Compliance:  _________________________

ATTACHMENTS REQUIRED:  Failure to provide any of these attachments will result in bid disqualification.

- MLB BID FORM (MUST BE SIGNED)

- MLBO VENDOR LICENSE

- COPY OF CURRENT INSURANCES

- LETTER FROM BONDING SURETY

- COPY OF MINNESOTA CONTRACTOR’S LICENSE

- SUB-CONTRACTOR LISTS (Include values)

NAME: ________________________________________TITLE:________________________

SIGNATURE: _______________________________________DATE:____________________

FIRM NAME: ________________________________TELEPHONE:_____________________

ADDRESS: ____________________________________________________________________

EMAIL ADDRESS: ____________________________________________________________