Community Development

REQUEST FOR PROPOSAL

OWNER:        MILLE LACS BAND OF OJIBWE		DATE ISSUED:    July 16, 2019

43408 OODENA DRIVE

ONAMIA, MN 56359                   		BID DATE:           July 31, 2019

PROJECT:    East Lake Community Center Re-Roof

TO: 	         QUALIFIED ROOFING CONTRACTORS

________________________________________________________________________________________

The Mille Lacs Band of Ojibwe, Community Development office will be accepting sealed lump sum bids for a commercial re-roofing project to be performed at the East Lake Community Center located at 20930 367th Lane, McGregor, MN. Bids will be due Wednesday, July 31, 2019 at 3:00 PM.  Bids received will be opened and qualified by the Mille Lacs Band of Ojibwe on Thursday August 1, 2019 at 8:30 AM.

A mandatory pre-bid site visit will be held on: July 22, 2019 immediately following conclusion of the pre-bid site visit for the Chiminising Community Center roof and travel time. Start of this pre-bid site visit is approximately 11:30am.

General Notes:

- It is the Contractors responsibility to identify any and all discrepancies in the scope of work, not meeting Industry Standards or that which is inconsistent with the International Building Code (IBC), and Mille Lacs Band of Ojibwe 2016 MLB Project Specification Book.

- Contractor will secure all permits and fees.

- Contractor is responsible for a thorough investigation of the scope of work.

- Contractor will repair any damage to the property or structure created by the scope of work.

- NO WORK SHALL BE PERFORMED UNTIL ALL REQUIRED PERMITS HAVE BEEN ISSUED AND COPIES IN THE POSSESSION OF THE PROJECT COORDINATOR AND /OR MILLE LACS BAND BUILDING OFFICIAL.

COMMUNITY DEVELOPMENT WILL, TO THE GREATEST EXTENT FEASIBLE, GIVE PREFERENCE IN THE AWARD OF CONTRACT TO INDIAN ORGANIZATIONS AND INDIAN-OWNED ECONOMIC ENTERPRISES.

Work Scope:

- Demo all existing pitched asphalt roofing, roof edge and flashings. Note: the flat roof area will not be a part of this renovation.

- Replace all decayed and weathered materials in association with re-roofing installation including but not limited to all wood blocking/decking, sheathing, flashing, sealants and etc. Include in base bid, the removal and replacement of 40 sheets of 5/8” CDX plywood roof sheathing. Provide cost per sheet (including labor and materials). Utilize Bid Alternate #1 for a unit cost per sheet installed to be credited back to Owner for any unused sheathing.

- Provide and install all new roof jacks and flashings.

- Contractor shall demo all existing roof vent boots. Contractor shall supply and install all new roof vent boots and caulk appropriately.

- Contractor shall supply and install new standing-seam metal roof panels, self-adhering sheet underlayment, ice/ water protection and all associated flashings, ice guards, closures and trim, as follows; instead of new asphalt shingles.

a.  Metal Roofing Product: Firestone Una-Clad UC4.

- Vertical-rib, snap-joint configuration, factory installed striations at all panels.

- Zinc-coated (galvanized) steel sheet, 0.028-inch nominal thickness with 2-coat fluoropolymer

- Panel coverage: 16 inches, Panel height: 1.5 inches

- Color selection: standard manufacturer’s color will be provided by the Owner.

- Underlayment: Clad Gard SA-FR with Core Gard Technology.

- Ice Guards: Supply and install ice guards along the entire perimeter of the facility. Typical first row installed at 3’ up from fascia, second row at 7’ up from fascia.

- Kalwall skylights – Contractor shall flash around skylights per manufacture’s specifications. Contractor shall notify Owner immediately upon discovery of any damage to any of the units or signs of leaking.

- Gutters: Contractor shall demo and replace any existing damaged gutters or downspouts. Contractor shall supply and installed new concrete splashpads per MLB Spec Book.

- Exposed truss rafter ends shall be cut just short of the end of the roof sheathing to allow enough space for subfascia boards to be installed.

- Contractor shall install subfascia along the outside of the rafter ends.

- Contractor shall construct soffit box ends.

- Contractor shall supply and install Firestone Fascia and UC-500 Flush Panel Vented soffit. New fascia and soffit shall match the color of the portion of the facility with existing completed soffits.

- Contractor shall include a $10,000 weatherization/ vapor barrier allowance. Contractor shall coordinate with Project Management staff during sheathing replacement to view exposed attic areas and determine if additional insulation, etc. needs to be applied. Contractor shall provide Owner with a detailed breakdown of costs for corrections made to determine credit due for unused allowance.

- All dumpsters to be provided by contractor.

- Note that Commercial Davis Bacon wage rates apply to this project. Contractor will be required to submit certified payroll reports to Owner.

- Contractor shall include 0.5% TERO tax fee in base bid. Submission of receipt for paid TERO fee is required with application for final payment.

Bid Alternate #2:

Supply the added cost to supply and install gutters on the portions of the facility without existing gutters, as follows:

Contractor shall supply and install roll formed gutters and downspouts adequately sized for a facility this size. See provided gutter detail from Firestone. Metal shall be 26 gauge steel and match the metal roof color selection. Contractor shall supply and installed new concrete splashpads per MLB Spec Book.

Bid Alternate #3:

Supply the added cost to demo existing asphalt roofing on detached garage and supply and install Firestone Una-Clad UC4 metal roofing panels and Clad Gard SA-FR underlayment as detailed above for the Community Center.

Specified Product Substitutions:

All proposed product substitutions must be approved by the Project Coordinator 5 days prior to bid.  Any approved substitutions, will be made available to all bidders.

Contacts:

Interested bidders shall contact Carla Dunkley, Project management Compliance Officer, at 320-630-2495 or at carla.dunkley@millelacsband.com to obtain bid form and to be included on the bidder’s list in the event that any addendums are issued for this project.

Bidding notes:

- Submit proposal in lump sum (supply and install), not to exceed amount

- All Contractors (including subcontractors) must comply with Davis Bacon wage requirements.

- All Contractors must provide the following along with their bid submittal:

  - Completed and signed MLB Community Development Construction Bid Form

  - A copy of Current MLB Vendor’s License (or a copy of the submitted application)

  - A copy of Current Insurance Certificate

  - Surety Bond Letter

  - A copy of Subcontractor/Material Supplier list

  - A copy of  valid State of Minnesota Contractor’s License

  - A copy of Authorized Signature Sheet (submitted with first bid submittal)

- All Contractors must comply with all Mille Lacs Band of Ojibwe American Indian Employment requirements (see 18 MLBSA § 5). Contact Craig Hansen at (320) 532-4778.

All proposals must be mailed and labeled as follows:

Mille Lacs Band of Ojibwe

Commissioner of Community Development

Sealed bid: East Lake Community Center Re-Roof Project

P.O. Box 509

Onamia, MN 56359

**Please note that the bids must be submitted via mail to the P.O. Box. FedEx and UPS will not deliver to a P.O. Box and the Onamia post office will not accept hand delivered items. Please plan accordingly to ensure the timely receipt of your bid submittal. **

**The Band reserves the right to reject any bid that it is unable to collect at the Onamia post office by the bid deadline date and time, provided that the Band has made diligent and reasonable efforts to collect the bid. The Band reserves this right even in the event that the bid has been postmarked before the deadline.

PROPOSALS NOT SUBMITTED IN THIS MANNER WILL BE REJECTED.

Licensing:

Firms must be licensed with the Mille Lacs Band of Ojibwe.  A copy of this license (or the license application) must accompany each bid. Licensing process can take several weeks. If you are not currently licensed with the MLBO, please submit a copy of your license application along with your proposal. Contact Elizabeth Thornbloom at (320) 532-8274 or via email at EThornbloom@grcasinos.com  with questions regarding licensing and for the license application.

PERMIT AND CONTRACTOR REQUIREMENTS:

Permits:  Contractors are responsible to attain all necessary permits for all work, including Mille Lacs Band of Ojibwe (MLBO) Permits.

Bonding Requirements:  In accordance with 2016 MLB Project Specification Book.

MLBSA Section 17 Procurement Statue Ordinance 03-06 states the following:

Section 17. Bonding

- In construction contracts that are federally funded or deemed commercial, bonding is required.  These types of contracts shall demand a performance bond not less than twenty (20%) percent of the total contract price, but not to exceed $500,000.00.  A performance bond requirement is to ensure that, if a contractor defaults, the Band may request that the surety pay the expense incurred to complete the construction contract.

- In addition, all construction contracts identified as federally funded or commercial shall be covered by a payment bond equal to one payment installment or cover subcontractors/suppliers as determined by the Contracting Officer or his agents.  The payment bond must contain language stating that if the contractor fails to make a payment to its subcontractors/suppliers, the surety will make the necessary payment.

SECTION II – BIDDING FORMS

Bidding Requirements and Contract Forms

COMMUNITY DEVELOPMENT

PROJECT MANAGEMENT

FY 2019 CONSTRUCTION BID FORM

REQUIRED FOR ALL BIDS

FIRM NAME: ____________________________________________________________________________

JOB/PROJECT:    East Lake Community Center RE-ROOFING PROJECT

BASE BID – NEW METAL ROOF

(Labor and materials):

___________________________________________________________________________$____________________

(Written Value)                                                                                                                    (Dollar Amount)

ALTERNATE #1 – UNIT COST FOR SHEATHING:

__________________________________________________________________________$____________________

(Written Value)                                                                                                                  (Dollar Amount)

ALTERNATE #2 – ADD TO INSTALL GUTTERS:

___________________________________________________________________________$____________________

(Written Value)                                                                                                                  (Dollar Amount)

ALTERNATE #2 – ADD TO REROOF GARAGE:

___________________________________________________________________________$____________________

(Written Value)                                                                                                                  (Dollar Amount)

Acknowledgement of Addendum(s): 1) __________ date    2) ___________date   3) ___________date

BID GUARANTEE PERIOD:

I agree to hold this bid open for a period of 90 days after the bid opening.  If this bid is accepted I agree to execute a Contract and/or a Purchase Order with the Mille Lacs Band of Ojibwe along with furnishing all required bonding (if required) and insurances.

TERO COMPLIANCE:

I understand that this company, its subcontractors and all employees performing work on this project will be expected to comply with all Mille Lacs Band TERO Compliance Regulations. Upon being informed that I will be awarded a contract for this project, I will submit all required TERO Compliance Plans directly to the MLB TERO Office for review and approval.

Acknowledgement of TERO Compliance:  _________________________

ATTACHMENTS REQUIRED:  Failure to provide any of these attachments will result in bid disqualification.

- MLB BID FORM (MUST BE SIGNED)

- MLBO VENDOR LICENSE

- COPY OF CURRENT INSURANCES

- LETTER FROM BONDING SURETY (REQUIRED)

- COPY OF MINNESOTA CONTRACTORS LICENSE (if required)

- SUB-CONTRACTOR/SUPPLIER LIST (Include values)

NAME: ________________________________________TITLE:________________________

SIGNATURE: _______________________________________DATE:____________________

FIRM NAME: ________________________________TELEPHONE:_____________________

ADDRESS: ____________________________________________________________________

EMAIL ADDRESS: _____________________________________________________________