Community Development

REQUEST FOR PROPOSAL

OWNER:        MILLE LACS BAND OF OJIBWE		DATE ISSUED:    JULY 15, 2019

43408 OODENA DRIVE

ONAMIA, MN 56359                   		BID DATE:            JULY 31, 2019

PROJECT:    DIII PINE GROVE HEADSTART FLAT ROOF REPLACEMENT

TO: 	         QUALIFIED ROOFING CONTRACTORS

________________________________________________________________________________________

The Mille Lacs Band of Ojibwe, Community Development office will be accepting sealed lump sum bids for a commercial re-roofing project to be performed at the Pine Grove Head Start facility located at 63842 Ojibwe Rd, Sandstone, MN. Bids will be due Wednesday, July 31, 2019 at 3:00 PM.  Bids received will be opened and qualified by the Mille Lacs Band of Ojibwe on Thursday August 1, 2019 at 8:30 AM.

A mandatory pre-bid site visit will be held on: Monday July 22nd  @ 2:30 PM at the Pine Grove Head Start facility located at 63842 Ojibwe Rd, Sandstone, MN. From Hinckley, MN, go east on Hwy 48 to Grace Lake Road (173) just before the WI border. Go north on Grace Lake Road.  Left on Badger Road, then immediate left on Ojibwe Rd.  Follow Ojibwe Road to the Head Start building.

General Notes:

- It is the Contractors responsibility to identify any and all discrepancies in the scope of work, not meeting Industry Standards or that which is inconsistent with the International Building Code (IBC), and Mille Lacs Band of Ojibwe 2016 MLB Project Specification Book.

- Contractor will secure all permits and fees.

- Contractor is responsible for a thorough investigation of the scope of work.

- Contractor will repair any damage to the property or structure created by the scope of work.

- NO WORK SHALL BE PERFORMED UNTIL ALL REQUIRED PERMITS HAVE BEEN ISSUED AND COPIES IN THE POSSESSION OF THE PROJECT COORDINATOR AND /OR MILLE LACS BAND BUILDING OFFICIAL.

COMMUNITY DEVELOPMENT WILL, TO THE GREATEST EXTENT FEASIBLE, GIVE PREFERENCE IN THE AWARD OF CONTRACT TO INDIAN ORGANIZATIONS AND INDIAN-OWNED ECONOMIC ENTERPRISES.

Work Scope:

- Contractor shall set up and secure site.  Protect building from debris, and protect / close building entrances as needed for a safe work environment.

- Contractor to provide temporary toilet on site for workers.  School facility will be off limits to workers.

- Vacuum and remove loose gravel from the roof.  Remove existing roof membrane down to the insulation.

- Replace wet, damaged or deteriorated insulation.  Provide unit cost for replacement insulation installed per bdft.  Utilize Bid Alternate #1 for Unit Cost.  Contractor shall include 2,000 bdft of replacement insulation in the Base Bid.  Additional cost or credit shall be calculated based on Bid Alternate #1 unit cost provided.

- All removal, dumpsters and hauling costs to be provided by contractor.

- Provide and install new 60 mil ballasted EPDM roof system.  Acceptable manufacturers include John Manville, Carlisle, Firestone.  Please submit product data with your bid proposal.

- Provide and install all roofing related accessories for a complete system, including uncured EPDM base flashings at all mechanical units, skylights, hatches, roof-to-wall connections, etc.  Include new pipe boots on any pipe penetrations

- Provide and install new 24ga prefinished sheet metal about the roof perimeter, keeper strip and 24ga covers at expansion joints / covers.

- Provide and install gutter system where EPDM roof meets standing seam roof area.  (Approx. 80lf)

- Contractor to provide Owner with manufacturers standard metal color options for selection.

- Contractor to provide 2 yr. warranty on installation and manufactures 10 yr warranty.

- Note that commercial Davis Bacon wage rates apply to this project. Contractor will be required to submit certified payroll reports to Owner.

- Contractor shall include 0.5% TERO tax fee in base bid. Submission of receipt for paid TERO fee is required with application for final payment.

- All work must be completed by December 31, 2019.

Bid Alternate #1 – Roof Insulation Replacement

Provide per bdft (board-foot) unit cost for INSTALLED roof insulation replacement.  Contractor to include 2,000 bdft in the base bid.  This unit cost will be used to calculate credit of unused material, or used to calculate additional cost if more insulation is needed.

Specified Product Substitutions:

All proposed product substitutions must be approved by the Project Coordinator 5 days prior to bid.  Any approved substitutions, will be made available to all bidders.

Contacts:

Interested bidders shall contact Ryan Jendro, Project Manager, at 320-630-5011 or at ryan.jendro@millelacsband.com to obtain bid form and to be included on the bidder’s list in the event that any addendums are issued for this project.

Bidding notes:

- Submit proposal in lump sum (supply and install), not to exceed amount

- All Contractors (including subcontractors) must comply with Davis Bacon wage requirements.

- All Contractors must provide the following along with their bid submittal:

  - Completed and signed MLB Community Development Construction Bid Form

  - A copy of Current MLB Vendor’s License (or a copy of the submitted application)

  - A copy of Current Insurance Certificate

  - Surety Bond Letter

  - A copy of Subcontractor/Material Supplier list

  - A copy of  valid State of Minnesota Contractor’s License

  - A copy of Authorized Signature Sheet (submitted with first bid submittal)

- All Contractors must comply with all Mille Lacs Band of Ojibwe American Indian Employment requirements (see 18 MLBSA § 5). Contact Craig Hansen at (320) 532-4778.

All proposals must be mailed and labeled as follows:

Mille Lacs Band of Ojibwe

Commissioner of Community Development

Sealed bid: Pine Grove Headstart Flat Roof

P.O. Box 509

Onamia, MN 56359

**Please note that the bids must be submitted via mail to the P.O. Box. FedEx and UPS will not deliver to a P.O. Box and the Onamia post office will not accept hand delivered items. Please plan accordingly to ensure the timely receipt of your bid submittal. **

**The Band reserves the right to reject any bid that it is unable to collect at the Onamia post office by the bid deadline date and time, provided that the Band has made diligent and reasonable efforts to collect the bid. The Band reserves this right even in the event that the bid has been postmarked before the deadline.

PROPOSALS NOT SUBMITTED IN THIS MANNER WILL BE REJECTED.

Licensing:

Firms must be licensed with the Mille Lacs Band of Ojibwe.  A copy of this license (or the license application) must accompany each bid. Licensing process can take several weeks. If you are not currently licensed with the MLBO, please submit a copy of your license application along with your proposal. Contact Elizabeth Thornbloom at (320) 532-8274 or via email at EThornbloom@grcasinos.com  with questions regarding licensing and for the license application.

PERMIT AND CONTRACTOR REQUIREMENTS:

Permits:  Contractors are responsible to attain all necessary permits for all work, including Mille Lacs Band of Ojibwe (MLBO) Permits.

Bonding Requirements:  In accordance with 2016 MLB Project Specification Book.

MLBSA Section 17 Procurement Statue Ordinance 03-06 states the following:

Section 17. Bonding

- In construction contracts that are federally funded or deemed commercial, bonding is required.  These types of contracts shall demand a performance bond not less than twenty (20%) percent of the total contract price, but not to exceed $500,000.00.  A performance bond requirement is to ensure that, if a contractor defaults, the Band may request that the surety pay the expense incurred to complete the construction contract.

- In addition, all construction contracts identified as federally funded or commercial shall be covered by a payment bond equal to one payment installment or cover subcontractors/suppliers as determined by the Contracting Officer or his agents.  The payment bond must contain language stating that if the contractor fails to make a payment to its subcontractors/suppliers, the surety will make the necessary payment.

SECTION II – BIDDING FORMS

Bidding Requirements and Contract Forms

COMMUNITY DEVELOPMENT

PROJECT MANAGEMENT

FY 2019 CONSTRUCTION BID FORM

REQUIRED FOR ALL BIDS

FIRM NAME: ____________________________________________________________________________

JOB/PROJECT:    PINE GROVE HEADSTART FLAT ROOF REPLACEMENT (revised)

BASE BID – NEW EPDM FLAT ROOF

(Labor and materials):

___________________________________________________________________________$____________________

(Written Value)                                                                                                                    (Dollar Amount)

ALTERNATE #1 – UNIT COST PER BDFT INSULATION REPLACEMENT:

__________________________________________________________________________$____________________

(Written Value)                                                                                                                  (Dollar Amount)

ALTERNATE #2 – LOW FLAT ROOF 6-PLY BUILT UP SYSTEM:                          ADD     /     DEDUCT     (CIRCLE)

__________________________________________________________________________$____________________

(Written Value)                                                                                                                  (Dollar Amount)

ALTERNATE #3 – UPPER GYMNASIUM ROOF 6-PLY BUILT UP SYSTEM:         ADD    /     DEDUCT      (CIRCLE)

__________________________________________________________________________$____________________

(Written Value)                                                                                                                  (Dollar Amount)

Acknowledgement of Addendum(s): 1) __________ date    2) ___________date   3) ___________date

BID GUARANTEE PERIOD:

I agree to hold this bid open for a period of 90 days after the bid opening.  If this bid is accepted I agree to execute a Contract and/or a Purchase Order with the Mille Lacs Band of Ojibwe along with furnishing all required bonding (if required) and insurances.

TERO COMPLIANCE:

I understand that this company, its subcontractors and all employees performing work on this project will be expected to comply with all Mille Lacs Band TERO Compliance Regulations. Upon being informed that I will be awarded a contract for this project, I will submit all required TERO Compliance Plans directly to the MLB TERO Office for review and approval.

Acknowledgement of TERO Compliance:  _________________________

ATTACHMENTS REQUIRED:  Failure to provide any of these attachments will result in bid disqualification.

- MLB BID FORM (MUST BE SIGNED)

- MLBO VENDOR LICENSE

- COPY OF CURRENT INSURANCES

- LETTER FROM BONDING SURETY (REQUIRED)

- COPY OF MINNESOTA CONTRACTORS LICENSE (if required)

- SUB-CONTRACTOR/SUPPLIER LIST (Include values)

NAME: ________________________________________TITLE:________________________

SIGNATURE: _______________________________________DATE:____________________

FIRM NAME: ________________________________TELEPHONE:_____________________

ADDRESS: ____________________________________________________________________

EMAIL ADDRESS: _____________________________________________________________